## Answer
Item | Amount | Unit
How many risers | 14 | risers of 7 1/2"
Each riser | 7 1/2"
How many treads | 13 | treads of 10"
Total run | 10' 10"
Angle | 36.87 | °
Stringer length, top tread a riser below the floor | 13' 6 1/2"
Hung flush instead | 14' 7"
Each stringer board, at least | 13' 10 1/8" | cut from a 14 ft board
Stringers, 12" apart at most | 4 | stringers
Stringer left under the notches | 5 1/4"
Twice the riser plus the tread | 25"
Headroom at the header | 6' 8"
Shortest opening for 6' 8" | 10'
Cost of what is ticked | 658.38
13 treads of 10" over 10' 10" of run, at 36.87°.
Stair Stringer Calculator
Made with BuildToList on 2026-10-23
https://buildtolist.com/stair-stringer-calculator/?oc=12&p=stairwell:8ft9inx3ftx10inx7.75inx10ftx10in

## Parts
Flight | Measurements | Qty | Risers | Unit | Share
Stair 1 | 8' 9" × 3' × 10" × 7 3/4" × 10' × 10" | Add ×1 | 14 | risers | 100%

## What to buy
Item | Qty | Unit | Cost | Buying
2×12 stringer boards, 14 ft | 4 | boards | 151.92 | yes
Treads, 11" deep × 36" long | 13 | pieces | 324.74 | yes
Riser boards, 7 1/2" × 36" | 14 | pieces | 181.72 | yes
Ticked items |  |  | 658.38

## Assumptions
Assumption | Value | Unit | Basis | Note | Source
Dressed, 8 in and wider | 3/4 | in | From a data sheet or an agency document | NIST PS 20-20, Table 3: 8 in nominal and wider is dressed dry ¾ in under it - 8 to 7¼, 10 to 9¼, 12 to 11¼. | https://www.nist.gov/document/doc-ps-20-20-american-softwood-lumber-standard
Tread thickness | ≈1 1/2 | in | Trade convention | MyCarpentry's default tread, a 2× board 1½ in thick; a 5/4 tread is 1 in. The bottom riser is cut shorter by it.
Nosing | ≈1 | in | Trade convention | 1 in, the middle of the ¾–1¼ in nosing the code allows.
Flooring still to go down, at the bottom | ≈0 | in | Trade convention | Flooring still to go down at the foot of the stair; 0 when that floor is finished. The stringer stands under it, so its bottom riser is cut taller by it.
Flooring still to go down, at the top | ≈0 | in | Trade convention | Flooring still to go down at the top of the stair; 0 when that floor is finished. It moves where the stringer hangs, not how it is cut.
Stringer spacing, composite treads | 12 | in | From a data sheet or an agency document | Trex installation guide 2026, p. 36: Signature, Transcend and Select 1×6 and Transcend 1×4 treads, stringers no more than 12 in apart.
Fewest stringers, composite treads | 4 | stringers | From a data sheet or an agency document | Trex installation guide 2026: composite treads fastened across at least four stringers; applied here to every composite tread.
Least stringer to keep under the notches | 5 | in | From a data sheet or an agency document | AWC DCA 6-15, Figure 28 (p. 21): a cut stringer keeps at least 5 in below its notches. MyCarpentry and Blocklayer say the same. | https://web.archive.org/web/20220130050123/https://awc.org/pdf/codes-standards/publications/dca/AWC-DCA62015-DeckGuide-1804.pdf
Comfortable step, 2 × riser + tread | ≈25 | in | Trade convention | Twice the riser plus the tread. Riser counts are ranked by how near they come to 25 in, inside the 60–65 cm Omni's calculator calls comfortable.
Lowest riser before a warning | ≈4 | in | Trade convention | Blocklayer's stair calculator warns below a 4 in riser.
Deepest tread before a warning | ≈14 | in | Trade convention | Blocklayer's stair calculator warns above a 14 in tread.
Tallest riser the code allows | 7 3/4 | in | From a data sheet or an agency document | IRC 2021 R311.7.5.1 (R318.7.5.1 in IRC 2024): a riser is not more than 7¾ in, measured between the leading edges of the treads. | https://up.codes/viewer/maryland/irc-2021/chapter/3/building-planning
Most two risers of a flight may differ | 3/8 | in | From a data sheet or an agency document | IRC 2021 R311.7.5.1 (R318.7.5.1 in IRC 2024): the tallest riser of a flight is no more than ⅜ in taller than the shortest. | https://up.codes/viewer/maryland/irc-2021/chapter/3/building-planning
Shallowest tread the code allows | 10 | in | From a data sheet or an agency document | IRC 2021 R311.7.5.2 (R318.7.5.2 in IRC 2024): a tread is at least 10 in deep, measured nosing to nosing. | https://up.codes/viewer/maryland/irc-2021/chapter/3/building-planning
Least nosing, where one is required | 3/4 | in | From a data sheet or an agency document | IRC 2021 R311.7.5.3 (R318.7.5.3 in IRC 2024): a nosing projects at least ¾ in. | https://up.codes/viewer/maryland/irc-2021/chapter/3/building-planning
Most nosing | 1 1/4 | in | From a data sheet or an agency document | IRC 2021 R311.7.5.3 (R318.7.5.3 in IRC 2024): a nosing projects no more than 1¼ in. | https://up.codes/viewer/maryland/irc-2021/chapter/3/building-planning
A tread this deep needs no nosing | 11 | in | From a data sheet or an agency document | IRC 2021 R311.7.5.3 (R318.7.5.3 in IRC 2024): no nosing is required where the tread is at least 11 in deep. | https://up.codes/viewer/maryland/irc-2021/chapter/3/building-planning
Least headroom | 80 | in | From a data sheet or an agency document | IRC 2021 R311.7.2 (R318.7.2 in IRC 2024): at least 6 ft 8 in of headroom, measured up from the sloped line of the nosings. | https://up.codes/viewer/maryland/irc-2021/chapter/3/building-planning
Narrowest stair | 36 | in | From a data sheet or an agency document | IRC 2021 R311.7.1 (R318.7.1 in IRC 2024): at least 36 in of clear width above the handrail. | https://up.codes/viewer/maryland/irc-2021/chapter/3/building-planning
Tallest flight between floors or landings | 151 | in | From a data sheet or an agency document | IRC 2021 R311.7.3 (R318.7.3 in IRC 2024): a flight rises no more than 12 ft 7 in between floors or landings. | https://up.codes/viewer/maryland/irc-2021/chapter/3/building-planning
Risers that call for a handrail | 4 | risers | From a data sheet or an agency document | IRC 2021 R311.7.8 (R318.7.8 in IRC 2024): a handrail on at least one side of a flight with four or more risers. | https://up.codes/viewer/maryland/irc-2021/chapter/3/building-planning
Open-side drop that needs a guard | 30 | in | From a data sheet or an agency document | IRC 2021 R312.1.1 (R321.1.1 in IRC 2024): a guard along an open side more than 30 in above the floor or grade below. | https://up.codes/viewer/maryland/irc-2021/chapter/3/building-planning

## Standards
Check | Verdict | Clause | What it says
Meets | pass | IRC 2021 R311.7.5.1 | Every riser is 7 1/2", within the 7 3/4" the code allows.
Meets | pass | IRC 2021 R311.7.5.1 | The finished risers differ by 0", within 3/8": the bottom riser is cut for the tread and the flooring.
Meets | pass | IRC 2021 R311.7.5.2 | Treads of 10" are at least the 10" the code asks.
Meets | pass | IRC 2021 R311.7.5.3 | Required on treads under 11": 3/4" to 1 1/4". The 1" nosing is within it.
Meets | pass | IRC 2021 R311.7.3 | The flight rises 105", within the 151" the code allows between floors or landings.
Meets | pass | IRC 2021 R311.7.1 | 36" wide, at least the 36" the code asks above the handrail.
Meets | pass | IRC 2021 R311.7.2 | 80" of headroom at the header of the opening, over the line of the nosings: at least the 80" the code asks, not counting a beam, duct or light below the header.
Not checked | unknown | IRC 2021 R311.7.8 | Required: a handrail on at least one side. The flight has 14 risers, and the code asks for one from 4.
Not checked | unknown | IRC 2021 R312.1.1 | Required along any open side: the stair climbs 105", more than 30" above the floor below.